## Sheet1
Type | Quantity
Gas Central Heating
Boiler | 1
Piping
Radiators | 13
Bed Rooms | 4
Living | 1
Kitchen | 1
Dining | 1
Hall | 1
Bathroom | 1
Ensuite | 1
WC | 1
Utility | 1
Total | 12

## Design
Item | Cost supply & Install
Energy Costs
Gas kWh |  | 0.07
Electricity Peak kWh |  | 0.34
Electricity Off Peak kWh |  | 0.085
Gas Central Heating and Hot Water |  |  |  | MVHR & Smart Hot Water
New Condensing boiler | 1 | 1800 |  | Smart Hot water tank | 1 | 1434.93
Set of Radiators | 9 | 1600 |  | Design | 1 | 575
Water tank | 1 | 300 |  | MVRH | 1 | 1847
Parts & Labour | 1 | 300 |  | Ducting | 1 | 2950
pipework | 1 | 1500 |  | Commissioning | 1 | 575
Totals |  | 5500 |  | Total |  | 7381.93
Running Costs kWh |  |  |  | Running costs kWh
Gas kWh | 13500 | 945 |  | Electricity kWh Fan | 675 | 229.5
Maintenance |  | 180 |  | Electricity kWh Water | 4380 | 372.3
Total |  | 1125 |  | Maintenance |  | 100
|  |  |  | Total |  | 701.8
Year |  | Gas Central | Accumalator |  |  | MVHR + HW | Accumalator
2022 | 0% | 6625 | 6625 |  |  | 8083.73 | 8083.73
2023 | 13% | 1271.25 | 7896.25 |  |  | 793.034 | 8876.764
2024 | 10% | 1398.375 | 9294.625 |  |  | 872.3374 | 9749.1014
2025 | 9% | 1524.2287 | 10818.8538 |  |  | 950.8478 | 10699.9492
2026 | 8% | 1646.1671 | 12465.0208 |  |  | 1026.9156 | 11726.8648
2027 | 7% | 1761.3987 | 14226.4195 |  |  | 1098.7997 | 12825.6644
2028 | 6% | 1867.0827 | 16093.5022 |  |  | 1164.7277 | 13990.3921
2029 | 5% | 1960.4368 | 18053.939 |  |  | 1222.964 | 15213.3561
2030 | 4% | 2038.8543 | 20092.7933 |  |  | 1271.8826 | 16485.2387
2031 | 3% | 2100.0199 | 22192.8132 |  |  | 1310.0391 | 17795.2778
2032 | 2% | 2142.0203 | 24334.8335 |  |  | 1336.2399 | 19131.5177
2033 | 2% | 2184.8607 | 26519.6942 |  |  | 1362.9647 | 20494.4823
2034 | 2% | 2228.5579 | 28748.2521 |  |  | 1390.224 | 21884.7063