## Sheet1
Type | Quantity
Gas Central Heating
Boiler | 1
Piping
Radiators | 13
Bed Rooms | 4
Living | 1
Kitchen | 1
Dining | 1
Hall | 1
Bathroom | 1
Ensuite | 1
WC | 1
Utility | 1
Total | 12

## Design
Item | Cost supply & Install
Energy Costs
Gas kWh |  | 0.12
Electricity Peak kWh |  | 0.4
Electricity Off Peak kWh |  | 0.1
Gas Central Heating and Hot Water |  |  |  | MVHR & Smart Hot Water
New Condensing boiler | 1 | 1800 |  | Smart Hot water tank | 1 | 1434.93
Set of Radiators | 9 | 1600 |  | Design | 1 | 575
Water tank | 1 | 300 |  | MVRH | 1 | 1847
Parts & Labour | 1 | 300 |  | Ducting | 1 | 2950
pipework | 1 | 1500 |  | Commissioning | 1 | 575
Totals |  | 5500 |  | Total |  | 7381.93
Running Costs kWh |  |  |  | Running costs kWh
Gas kWh | 13500 | 1620 |  | Electricity kWh Fan | 675 | 270
Maintenance |  | 180 |  | Electricity kWh Water | 4380 | 438
Total |  | 1800 |  | Maintenance |  | 100
|  |  |  | Total |  | 808
Year |  | Gas Central | Accumalator |  |  | MVHR + HW | Accumalator
2022 | 0% | 7300 | 7300 |  |  | 8189.93 | 8189.93
2023 | 13% | 2034 | 9334 |  |  | 913.04 | 9102.97
2024 | 10% | 2237.4 | 11571.4 |  |  | 1004.344 | 10107.314
2025 | 9% | 2438.766 | 14010.166 |  |  | 1094.735 | 11202.049
2026 | 8% | 2633.8673 | 16644.0333 |  |  | 1182.3138 | 12384.3627
2027 | 7% | 2818.238 | 19462.2713 |  |  | 1265.0757 | 13649.4384
2028 | 6% | 2987.3323 | 22449.6035 |  |  | 1340.9803 | 14990.4187
2029 | 5% | 3136.6989 | 25586.3024 |  |  | 1408.0293 | 16398.448
2030 | 4% | 3262.1668 | 28848.4693 |  |  | 1464.3504 | 17862.7984
2031 | 3% | 3360.0318 | 32208.5011 |  |  | 1508.281 | 19371.0794
2032 | 2% | 3427.2325 | 35635.7336 |  |  | 1538.4466 | 20909.526
2033 | 2% | 3495.7771 | 39131.5107 |  |  | 1569.2155 | 22478.7415
2034 | 2% | 3565.6927 | 42697.2034 |  |  | 1600.5998 | 24079.3413